## settings
Screenshots below are Ge detector settings on Day 2. Low energy was cutoff so some settings were altered.
EBIT settings
Beam line Pressure (Torr)
e- gun pressure (Torr)
crystal spectrometer (Torr)
Mevva section (Torr)
Big 3 (Torr)
Bender #1 (Torr)
Bender #2 (Torr)
Mirror Chamber; Cathode (Torr)
Grating Chamber; Cathode (Torr)
Mirror Chamber (Torr)
Grating Chamber (Torr)
Gas injection pressure (Torr)
Super Magnet resistance (Ohm)
Focus (v)
suppressor (v)
einzel lens (v)
extractor (v)
Transition (v)
filament (v)
filament (amp)
TC1 (collector exhaust) °F
UDT (v)
LDT (v)
MDT (v)
Collector magnet voltage (V)
collector magnet current (A)
SC magnet current (A)
Bucking coil voltage (v)
snout (μA)
collector voltage (2kV)

## crystal calculator
Calculate sin(x) for a given energy
crystal | h [eV*s] * c [Angstrom/s] | 2d (Angstrom) | ev | Angstrom | sin (x) | Lowest E (keV) | Highest E (keV)
Si (220) | 12398.4197 | 3.8403 | 3125 | 3.9675 | 1.0331 | 3.623 | 7.499
crystal | h [eV*s] * c [Angstrom/s] | 2d (Angstrom) | ev | Angstrom | sin (x) | 3.479 | 7.2
Ge (220) | 12398.4197 | 4 | 3125 | 3.9675 | 0.99187
Calculate energy of given sin(x)
crystal | h [eV*s] * c [Angstrom/s] | 2d (Angstrom) | ev | Angstrom | sin (x) | 2.219 | 4.592 | Sin(x) | Ang | ev
Si (111) | 12398.4197 | 6.271 | 3379.867 | 3.6683 | 0.58497 |  |  | 0.6327 | 3.9677 | 3124.8682
|  |  | 3109.8682 | 3.9868 | 0.63575
crystal | h [eV*s] * c [Angstrom/s] | 2d (Angstrom) | ev | Angstrom | sin (x) | 2.13 | 4.409
Ge (111) | 12398.4197 | 6.532 | 3125 | 3.9675 | 0.60739 |  |  | 0.804 | 5.2517 | 2360.8267

## (Day_1)_08_01_2017
Crystal installed: Si (111)
Element | EUV | Ge | Crystal | Shield Voltage (kV) | Labview setting | Electron beam current (mA) | Ge (s) | EUV (min) | crystal (sec) | cooking(s) | EUV CCD position | crystal angle | target Energy for crystal | Notes:
W | EUVt001 | xy001 | NA | 7 | 2.329 | 132.2 | 180 | 5 | NA | 5 | 1.25 | 0.7433 | 2660 | not reliable spectra. Confusion as to what energy we were at.
W | EUVt001_1 | xy001_1 | NA | 7 |  | 132.2 | 180 | 5 | NA | 5 | 1.25 | 0.7433
W | EUVt002 | xy002 | NA | 4.9 | 1.6248 | 132.2 | 180 | 5 | NA | 5 | 1.25 | 0.8345 | 2369.43
EUVt002_1
W | EUV001 | X001 |  | 4.9 |  | 132.2 | 180 | 5 | NA | 5 |  | 0.7368
164

## Day 2 (8_2)
EUV CCD position
1.25
| file name |  |  |  |  | collection tme
Element | EUV | Ge | Crystal | Shield Voltage (kV) | Electron beam current (mA) | Ge (s) | EUV (min) | crystal (sec) | cooking(s) | crystal angle | Note | Encoder |  | total counts | cps |  |  | Labview setting
W | EUV001 | NA | sx001 | 4.9 | 140 | NA | 5 | NA | 5 | NA | [7 empty] | NA
BG | EUV002 | NA | NA | 4.9 | 140 | NA | 5 | NA | 5 | NA | MeVVA off | [6 empty] | NA
BG | NA | X002 | sx002 | 4.9 | 140 | 180 | NA | 120 | 5 | 0.6327 | Ge detector cutting off lower energies when MeVVA running | [6 empty] | NA
BG | NA | NA | sx002_1 | 4.9 | 140 | NA | NA | 60 | 5 | 0.6327 | [7 empty] | NA
W | EUV003 | NA | sx003 | 4.9 | 140 | NA | 5 | 120 | 5 | 0.804 | [7 empty] | NA
W | EUV004 | x004 | sx004 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.804 |  |  |  | 755926 | 4199 | Ge data looks cutoff |  | 1.7578
W | EUV004_1 | x004_1 | sx004_1 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.804 | [7 empty] | 1.7578
W | EUV004_2 | NA | sx004_2 | 5.3 | 140 | NA | 5 | 180 | 5 | 0.804 | [7 empty] | 1.7578
W | EUV004_3 | x004_3 | sx004_3 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.804 | [7 empty] | 1.7578
W | EUV004_4 | x004_4 | sx004_4 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.804 |  | 92925 | [5 empty] | 1.7578
W | EUV004_5 | x004_5 | sx004_5 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.804 |  | 92925 |  | 639539 | 3552 |  |  | 1.7578
W | EUV005 | x005 | sx005 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.788 |  | 85080 |  | 607117 | 3372 | Ge data looks cut off | 2.46keV centroid | 1.7578
W | EUV006 | x006 | sx006 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 631378 | 3507 |  |  | 1.7578
W | EUV006_1 | x006_1 | sx006_1 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 663568 | 3686 |  |  | 1.7578
W | EUV006_2 | x006_2 | sx006_2 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 690205 | 3834 |  |  | 1.7578
W | EUV006_3 | x006_3 | sx006_3 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 637035 | 3539 |  |  | 1.7578
W | EUV006_4 | x006_4 | sx006_4 | 5.3 | 140 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 561671 | 3120 |  |  | 1.7578
W | EUV006_5 | x006_5 | sx006_5 | 5.3 | 139.8 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 691148 | 3839 |  |  | 1.7578
W | EUV007 | x007 | sx007 | 5.4 | 132.1 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 672977 | 3738 |  |  | 1.791
W | EUV008 | x008 | sx008 | 5.5 | 132.1 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 647832 | 3599 |  |  | 1.8242
W | EUV009 | x009 | sx009 | 5.4 | 132.1 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 677800 | 3765 |  |  | 1.791
W | EUV009_1 | x009_1 | sx009_1 | 5.4 | 132.1 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 653990 | 3633 |  |  | 1.791
W | EUV009_2 | x009_2 | sx009_2 | 5.4 | 132.1 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 666181 | 3701 |  |  | 1.791
W | EUV009_3 | x009_3 | sx009_3 | 5.4 | 132.1 | 180 | 5 | 180 | 5 | 0.7959 |  | 88460 |  | 668171 | 3712 |  |  | 1.791
W | EUV010 | x010 | sx010 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.795 |  | 88460 |  | 707385 | 3929 |  |  | -
W | EUV010_1 | x010_1 | sx010_1 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.795 |  |  |  | 697024 | 3872 |  |  | -
W | EUV010_2 | x010_2 | sx010_2 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.795 | [7 empty] | -
W | EUV010_3 | x010_3 | sx010_3 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.795 | [7 empty] | -
W | EUV010_4 | x010_4 | sx010_4 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.795 |  |  |  | 635711 | 3531 |  |  | -
W | EUV011 | x011 | sx011 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.788 |  | 85070 |  | 688974 | 3827 |  |  | -
W | EUV011_1 | x011_1 | sx011_1 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.788 |  | 85070 |  | 684546 | 3827 |  |  | -
W | EUV011_2 | x011_2 | sx011_2 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.788 |  | 84985 | This encoder reading is more believeable. (Table bumped) | 705043 | 3916 | Ge low energies cutoff |  | -
W | EUV011_3 | x011_3 | sx011_3 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.788 |  |  |  | 684688 |  | Ge low energies show up |  | -
W | EUV011_4 | x011_4 | NA | 5.2 | 132 | 180 | 5 | NA | 5 | 0.788 | [7 empty] | -
BG | EUV012 | x012 | sx012 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.788 | [7 empty] | -
W | EUV011_5 | x011_5 | sx011_5 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.788 |  |  |  | 698154 | 3878 |  |  | -
W | NA | NA | sx013 | 5.2 | 132 | 180 | 5 | 180 | 5 | 0.7726 | [7 empty] | -
BG | EUV014 | x014 | sx014 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6327 |  | 30 | [5 empty] | 3.1585
W | EUV015 | x014 | sx014 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6327
W | EUV015_01 | x015_01 | sx015_01 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6327
W | EUV015_02 | x015_02 | sx015_02 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6327
W | EUV015_03 | x015_03 | sx015_03 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6327
W | EUV015_04 | x015_04 | sx015_04 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6327
BG | NA | x016 | sx016 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.5955 |  | -20385
W | NA | x017 | sx017 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.5955 |  | -20385
W | EUV017_1 | x017_1 | sx017_1 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.5955
W | EUV017_2 | x017_2 | sx017_2 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.5955
W | EUV017_3 | x017_3 | sx017_3 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.5955
W | EUV017_4 | x017_4 | sx017_4 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.5955
BG | EUV018 | x018 | sx018 | 9.5 | 129.9 | 180 | 5 | 180 | - | 0.5955 | no dump
BG | EUV019 | x019 | sx019 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6 |  | -17905
BG | EUV020 | x020 | sx020 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028 |  | -16370
BG | NA | NA | sx020_1 | 9.5 | 129.9 | NA | NA | 180 | 5 | 0.6028
W | EUV021 | x021 | sx021 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_1 | x021_1 | sx021_1 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_2 | x021_2 | sx021_2 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_3 | x021_3 | sx021_3 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_4 | x021_4 | sx021_4 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_5 | x021_5 | sx021_5 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_6 | x021_6 | sx021_6 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_7 | x021_7 | sx021_7 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_8 | x021_8 | sx021_8 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_9 | x021_9 | sx021_9 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_10 | x021_10 | sx021_10 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_11 | x021_11 | sx021_11 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_12 | x021_12 | sx021_12 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_13 | x021_13 | sx021_13 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_14 | x021_14 | sx021_14 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV021_15 | x021_15 | sx021_15 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV022 | x022 | sx022 | 9.5 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV023 | x023 | sx023 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV023_1 | x023_1 | sx023_1 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024 | x024 | sx024 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_1 | x024_1 | sx024_1 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_2 | x024_2 | sx024_2 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_3 | x024_3 | sx024_3 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_4 | x024_4 | sx024_4 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_5 | x024_5 | sx024_5 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_6 | x024_6 | sx024_6 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_7 | x024_7 | sx024_7 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_8 | x024_8 | sx024_8 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_9 | x024_9 | sx024_9 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV024_10 | x024_10 | sx024_10 | 9 | 129.9 | 180 | 5 | 180 | 5 | 0.6028 |  | -16370

## Day 3 (8_3)
EUV CCD position |  |  | conversion | Energy | Labview set
1.25 |  |  | 0.33196 | 7.5 | 2.4897
| file name |  |  |  |  | collection tme
Element | EUV | Ge | Crystal | Shield Voltage (kV) | Electron beam current (mA) | Ge (s) | EUV (min) | crystal (sec) | cooking(s) | crystal angle | Note | Encoder | total counts left W | centroid | total counts right w | centroid | Labview setting
BG | EUV025 | X025 | SX025 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028 |  | -16375 |  |  |  |  | 3.0208
BG | EUV025_1 | X025_1 | SX025_1 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028 |  | -16375 |  |  |  |  | 3.0208
W | EUV026 | X026 | SX026 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028 |  | -16375 | 253571 |  | 98142 |  | 3.0208
W | EUV026_1 | X026-1 | SX026_1 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028 |  | -16375 |  |  |  |  | 3.0208
W | EUV026_2 | X026-2 | SX026_2 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028
W | EUV026_3 | X026-3 | SX026_3 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028 | [6 empty] | 0.33196
W | EUV026_4 | X026-4 | SX026_4 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028 | [6 empty] | 2.4897
W | EUV026_5 | X026-5 | SX026_5 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028 | [6 empty] | 3.1702
W | EUV026_6 | X026-6 | SX026_6 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028 | [6 empty] | 2.5063
W | EUV026_7 | X026-7 | SX026_7 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028
W | EUV026_8 | X026-8 | SX026_8 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028
W | EUV026_9 | X026-9 | SX026_9 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028
W | EUV026_10 | X026-10 | SX026_10 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028
W | NA | X026-11 | SX026_11 | 9.1 | 145 | 180 | 5 | 180 | 5 | 0.6028
W | EUV027 | x027 | sx027 | 9.05 | 141.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV028 | x028 | NA | 9.15 | 140 | 180 | 5 | 180 | 5 | 0.6028
W | NA | x029 | NA | 8.5 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 19776
W | NA | x030 | NA | 8.6 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 19394
W | NA | x031 | NA | 8.7 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 18481
W | NA | x032 | NA | 8.8 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 17682
W | NA | x033 | NA | 8.9 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 15751
W | NA | x034 | NA | 8.95 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 16385
W | NA | x035 | NA | 9 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 15801
W | NA | x036 | NA | 9.05 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 17717
W | NA | x037 | NA | 9.1 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 15381
W | NA | x038 | NA | 9.15 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 16867
W | NA | x039 | NA | 9.2 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 15414
W | NA | x040 | NA | 9.25 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 13778
W | NA | x041 | NA | 9.3 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 13867
W | NA | x042 | NA | 9.35 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 15885
W | NA | x043 | NA | 9.4 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 15372
W | NA | x044 | NA | 9.45 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 13435
W | NA | x045 | NA | 9.5 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 13801
W | NA | x046 | NA | 9.55 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 13648
W | NA | NA | NA | 9.6 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 13853
W | NA | x047 | NA | 9.65 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 14698
W | NA | x048 | NA | 9.72 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 15093
W | NA | x049 | NA | 9.75 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 17652
W | NA | x050 | NA | 9.8 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 14169
W | NA | x051 | NA | 9.85 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 14663
W | NA | x052 | NA | 9.9 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 15345
W | NA | x053 | NA | 9.93 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 13955
W | NA | x054 | NA | 9.99 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 15590
W | NA | x055 | NA | 10.05 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 13883
W | NA | x056 | NA | 10.09 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 12671
W | NA | x057 | NA | 10.14 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 12650
W | NA | x058 | NA | 9.4 | 140 | 60 | - | - | 5 | 0.6028
W | NA | x059 | NA | 7.5 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 20814
W | NA | x060 | NA | 7.6 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 18954
W | NA | X061 | NA | 7.7 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 19658
W | NA | X062 | NA | 7.8 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 18344
W | NA | X063 | NA | 7.9 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 23164
W | NA | X064 | NA | 8 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 20935
W | NA | X065 | NA | 8.1 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 21110
W | NA | X066 | NA | 8.2 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 17481
W | NA | X067 | NA | 8.3 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 16477
W | NA | X068 | NA | 8.4 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 17023
W | NA | X069 | NA | 8.5 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 17668
W | NA | X070 | NA | 8.1 | 140 | 60 | - | - | 5 | 0.6028 |  |  | 25463
W | EUV071 | X071 | sx071 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6028
W | EUV071_1 | x071_1 | sx071_1 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6028
W | EUV071_2 | x071_2 | sx071_2 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6028
W | EUV071_3 | x071_3 | sx071_3 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6028
W | EUV071_4 | x071_4 | sx071_4 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6028
W | EUV071_5 | x071_5 | sx071_5 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6028
W | EUV072 | X072 | sx072 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV073 | X073 | sx073 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV073_1 | X073_1 | sx073_1 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV074 | x074 | sx074 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6028
BG | NA | x074_1 | sx074_1 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6028
W | EUV075 | x075 | sx075 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6028
W | EUV075_1 | x075_1 | sx075_1 | 7.9 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV075_2 | x075_2 | sx075_2 | 7.9 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV075_3 | x075_3 | sx075_3 | 7.9 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV075_4 | x075_4 | sx075_4 | 7.9 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | - | x075_5 | sx075_5 | 7.9 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV076 | x076 | sx076 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028 | crystal spectrometer may be named sx075_6 when it is actually sx076. We don't know.
W | EUV076_1 | x076_1 | NA | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV076_2 | x076_2 | sx076_1 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV076_3 | x076_3 | sx076_2 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV076_4 | x076_4 | sx076_3 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV076_5 | x076_5 | sx076_4 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV076_6 | - | sx076_5 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | - | - | sx076_6 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
W | EUV076_7 | x076_7 | sx076_7 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV077 | - | sx077 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV077_1 | - | sx077_1 | 9.19 | 139.9 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV078 | x078 | sx078 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | - | x078_1 | sx078_1 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV079 | x079 | sx079 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV079_1 | x079_1 | sx079_1 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV079_2 | x079_2 | sx079_2 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV079_3 | x079_3 | sx079_3 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV079_4 | x079_4 | sx079_4 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV079_5 | x079_5 | sx079_5 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV079_6 | x079_6 | sx079_6 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV079_7 | x079_7 | sx079_7 | 9.29 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV080 | x080 | sx080 | 9.39 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV080_1 | x080_1 | sx080_1 | 9.39 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV081 | x081 | sx081 | 9.39 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV081_1 | x081_1 | sx081_1 | 9.39 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV081_2 | x081_2 | sx081_2 | 9.39 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV081_3 | x081_3 | sx081_3 | 9.39 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV081_4 | x081_4 | sx081_4 | 9.39 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV081_5 | x081_5 | sx081_5 | 9.39 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV081_6 | x081_6 | sx081_6 | 9.39 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV082 | x082 | sx082 | 9.51 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV082_1 | x082_1 | sx082_1 | 9.51 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV082_2 | x082_2 | sx082_2 | 9.51 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV082_3 | x082_3 | sx082_3 | 9.51 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV082_4 | x082_4 | sx082_4 | 9.51 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV082_5 | x082_5 | sx082_5 | 9.51 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV082_6 | x082_6 | sx082_6 | 9.51 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV083 | x083 | sx083 | 9.51 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | - | x083_1 | sx083_1 | 9.51 | 139.8 | 180 | 0 | 180 | 5 | 0.6028
BG | EUV084 | x084 | sx084 | 9.6 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV084_1 | x084_1 | sx084_1 | 9.6 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV085 | x085 | sx085 | 9.6 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV085_1 | x085_1 | sx085_1 | 9.6 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV085_2 | x085_2 | sx085_2 | 9.6 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV085_3 | x085_3 | sx085_3 | 9.6 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV085_4 | x085_4 | sx085_4 | 9.6 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV085_5 | x085_5 | sx085_5 | 9.6 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV086 | x086 | sx086 | 9.7 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | - | x086_1 | sx086_1 | 9.7 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV087 | x087 | sx087 | 9.7 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV087_1 | x087_1 | sx087_1 | 9.7 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV087_2 | x087_2 | sx087_2 | 9.7 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV087_3 | x087_3 | sx087_3 | 9.7 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV087_4 | x087_4 | sx087_4 | 9.7 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV087_5 | x087_5 | sx087_5 | 9.7 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV088 | x088 | sx088 | 9.81 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV088_1 | x088_1 | sx088_1 | 9.81 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV089 | x089 | sx089 | 9.81 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV089_1 | x089_1 | sx089 | 9.81 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV089_2 | x089_2 | sx090 | 9.81 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV089_3 | x089_3 | sx091 | 9.81 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV089_4 | x089_4 | sx092 | 9.81 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV089_5 | x089_5 | sx093 | 9.81 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV090 | x090 | sx090 | 9.9 | 139.8 | 180 | 5 | 180 | 5 | 0.6028 |  | -16375
BG | EUV090_1 | x090_1 | sx090_1 | 9.9 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV091 | x091 | sx091 | 9.9 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV091_1 | x091_1 | SX091_1 | 9.9 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV091_2 | x091_2 | SX091_2 | 9.9 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV091_3 | x091_3 | SX091_3 | 9.9 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV091_4 | x091_4 | SX091_4 | 9.9 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
W | EUV091_5 | x091_5 | SX091_5 | 9.9 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV092 | x092 | sx092 | 9.99 | 139.8 | 180 | 5 | 180 | 5 | 0.6028
BG | EUV092_1 | x092_1 | sx092_1 | 9.99 | 139.8 | 180 | 5 | 180 | 5 | 0.6028 | 12:54am

## Day 4 (8_4)
EUV CCD position |  |  |  | conversion | Energy | Labview set
1.25 |  |  |  | 0.33196 | 7.5 | 2.4897
| file name | [5 empty] | collection tme
Element | EUV | Ge | Crystal (Vertical) | Crystal | Shield Voltage (kV) | Electron beam current (mA) | Ge (s) | EUV (min) | crystal (sec) | cooking(s) | crystal angle SX | crystal angle VX | Note | Encoder | Gas Pressure(torr) | Dial | total counts left W | centroid | total counts right w | centroid | Labview setting
Ar | EUV093 | X093 | VX093 | SX093 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6028 | 0.6327 | 3.85 | -16380 | 2e-05
Ar | EUV093_1 | X093_1 | VX093_1 | SX093_1 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6028 | 0.6327 | 3.85 | -16380 | 2e-05
Ar | EUV093_2 | X093_2 | VX093_2 | SX093_2 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6028 | 0.6327 | 3.85 | -16380 | 2e-05
Ar | EUV094 | X094 | VX094 | SX094 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.5982 | 0.6327 | ? | -18860 | 1.56e-05
Ar | EUV094_1 | X094_1 | NA | SX094_1 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.5982 | 0.6327 | 7CW_2nd | -18860 | 1.56e-05 | 22
Ar | EUV094_2 | X094_2 | VX094_2 | SX094_2 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.5982 | 0.6327 | 7CW_2nd | -18860 | 1.56e-05 | 22
Ar | EUV095 | X095 | VX095 | SX095 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.5937 | 0.6327 | 7CW_2nd | -21345 | 1.86e-05 | 22
Ar | EUV095_1 | X095_1 | VX095_1 | SX095_1 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.5937 | 0.6327 | 7CW_2nd | -21345 | 1.86e-05 | 22
Ar | EUV095_2 | X095_2 | VX095_2 | SX095_2 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.5937 | 0.6327 | 7CW_2nd | -21345 | 1.86e-05 | 22
Ar | EUV096 | X096 | VX096 | SX096 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.5893 | 0.6297 | 7CW_2nd | -23735 | 1.99e-05 | 22
Ar | EUV096_1 | X096_1 | VX096_1 | SX096_1 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.5893 | 0.6297 | 7CW_2nd | -23735 | 1.99e-05 | 22
Ar | EUV096_2 | X096_2 | VX096_2 | SX096_2 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.5893 | 0.6297 | 7CW_2nd | -23735 | 1.99e-05 | 22
Measurements in the 8keV range (DE)
Ar | EUV097 | X097 | VX097 | SX097 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 2.03e-05 | 22
Ar | EUV097_1 | X097_1 | VX097_1 | SX097_1 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 2.03e-05 | 22
Ar | EUV097_2 | X097_2 | VX097_2 | SX097_2 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 2.03e-05 | 22
Ar | EUV097_3 | X097_3 | VX097_3 | SX097_3 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 2.03e-05 | 22
Ar | EUV098 | X098 | VX098 | SX098 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_1 | X098_1 | VX098_1 | SX098_1 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_2 | X098_2 | VX098_2 | SX098_2 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_3 | X098_3 | VX098_3 | SX098_3 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_4 | X098_4 | VX098_4 | SX098_4 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_5 | X098_5 | VX098_5 | SX098_5 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_6 | X098_6 | VX098_6 | SX098_6 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_7 | X098_7 | VX098_7 | SX098_7 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_8 | X098_8 | VX098_8 | SX098_8 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_9 | X098_9 | VX098_9 | SX098_9 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_10 | X098_10 | VX098_10 | SX098_10 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_11 | X098_11 | VX098_11 | SX098_11 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_12 | X098_12 | VX098_12 | SX098_12 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_13 | X098_13 | VX098_13 | SX098_13 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_14 | X098_14 | VX098_14 | SX098_14 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_15 | X098_15 | VX098_15 | SX098_15 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22
Ar | EUV098_16 | X098_16 | NA | SX098_16 | 8 | 140.2 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 6.23e-05 | 22 | vertical CCD software crashed so couldn't save VX016
Measurements in the 2.85keV range (n=2-1 DR)
Ar | EUV099 | X099 | VX099 | SX099 | 2.85 | 85 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 5.15e-05 | 22
Ar | EUV099_1 | X099_1 | VX099_1 | SX099_1 | 2.85 | 85 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 5.15e-05 | 22
Ar | EUV099_2 | X099_2 | VX099_2 | SX099_2 | 2.85 | 85 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 5.15e-05 | 22
Ar | EUV099_3 | X099_3 | VX099_3 | SX099_3 | 2.85 | 85 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 5.15e-05 | 22
Ar | EUV099_4 | X099_4 | VX099_4 | SX099_4 | 2.85 | 85 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 5.15e-05 | 22
Ar | EUV099_5 | X099_5 | VX099_5 | SX099_5 | 2.85 | 85 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 5.15e-05 | 22
Ar | NA | X099_6 | VX099_6 | SX099_6 | 2.85 | 85 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 5.15e-05 | 22
Ar | EUv099_7 | X099_7 | VX099_7 | SX099_7 | 2.85 | 85 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | 5.15e-05 | 22
BG | EUV100 | X100 | VX100 | SX100 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1660 | - | 22
BG | EUV100_1 | X100_1 | VX100_1 | SX100_1 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1661 | - | 22
W | EUV101 | X101 | VX101 | SX101 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1662 | - | 22
W | EUV101_1 | X101_1 | VX101_1 | SX101_1 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1663 | - | 22
W | EUV101_2 | X101_2 | VX101_2 | SX101_2 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1664 | - | 22
W | EUV101_3 | X101_3 | VX101_3 | SX101_3 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1665 | - | 22
W | EUV101_4 | X101_4 | VX101_4 | SX101_4 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1666 | - | 22
BG | EUV102 | X102 | VX102 | SX102 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1667 | - | 22
BG_1 | EUV102_1 | X102_1 | VX102_1 | SX102_1 | 7.8 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1668 | - | 22
W | EUV103 | X103 | VX103 | SX103 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1662 | - | 22
W | EUV103_1 | X103_1 | VX103_1 | SX103_1 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1663 | - | 22
W | EUV103_2 | X103_2 | VX103_2 | SX103_2 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1664 | - | 22
W | EUV103_3 | X103_3 | VX103_3 | SX103_3 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1665 | - | 22
W | EUV103_4 | X103_4 | VX103_4 | SX103_4 | 7.9 | 140 | 180 | 5 | 180 | 5 | 0.6357 | 0.6357 | 7CW_2nd | 1666 | - | 22